G. BOCHKOVA, D. POLUSHINA, C. FOMINA, N. SENYAGINA, V. PUZYREV, A. BURKOV,

T. ULANOVA

RPC «Diagnostic Systems», Nizhniy Novgorod, Russia,

State Medical Academy, Nizhniy Novgorod, Russia

THE DIAGNOSTIC VALUE OF THE DETECTION ANTI-HCV IgM TO DIFFERENT HEPATITIS C ANTIGENS

Aim. The diagnostic value of the anti-HCV IgM is investigated not enough. The aim of this

study was to evaluate the ELISA kit “DS-EIA-anti-HCV-IgM-SPECTR” intended for separate

detection of anti-IgM to different HCV antigens.

Objectives and methods. The various recombinant antigens comprising HCV core, NS3, NS4,

NS5 were separately adsorbed on the microtiter plate. Diagnostic value of the test was studied by

testing samples (n=1507) from HCV-infected patients, samples from infants born to HCV positive

mothers in dynamics, from healthy blood donors.

Results. It has been estimated that 70% of anti-HCV IgG positive specimens also contained anti-

HCV IgM. About 90% of them had anti-IgM to two or more HCV antigens. Anti-core IgM and

anti-NS3 IgM were detected more frequently (68% and 61% samples subsequently).

Good correlation between the presence of HCV RNA and the detection of anti-HCV IgM have

been estimated. Almost 90% of HCV RNA-positive samples were anti-HCV IgM positive.

All samples from babies with acute hepatitis C diagnosed in the age of 3-5 months had аnti-

core IgM alone or with anti-NS3 IgM and were HCV RNA positive. The significant increase of

anti-core IgM concentration was specified to 9-10 months and anti-NS IgM to 9-18 months and

indicated to the development of chronic hepatitis C.

Conclusion. The detection of anti-HCV IgM may be a specific tool for diagnosis of HCV

viremia. The measurement of anti-IgM to different HCV proteins may be important for

diagnostics of perinatally transmitted HCV infection and as a predictive factor of persistent

infection.

15th International Symposium on Hepatitis C Virus and Related Viruses.- San Antonio,USA -October 3-8, 2008