N. EGOROVA1, S. IGOLKINA1, I. PYRENKOVA1, I. SHARIPOVA1, V. PUZYREV 1,

A. OBRIADINA1,2, A. BURKOV1, T. ULANOVA1,2

1RPC «Diagnostic Systems», Nizhniy Novgorod, Russia;

2DSI S.R.L. Saronno, Italy

THE SEROLOGICAL PROFILE OF THE SAMPLES WITH HBsAg CONCENTRATION BELOW DETECTION LIMIT OF BEST CURRENTLY AVAILABLE EIA KITS

Objectives: The aim of the study was to characterize the serological profile of the samples tested as HBsAg negative by the best available tests with sensitivity 0.05-0.1 IU/ml (Second International Standard for HBsAg subtype adw2, genotype A, NIBSC code number: 00/588).

All these samples were HBsAg-positive by the EIA with sensitivity 0.01 IU/ml DS-EIA-HBsAg-0.01.

Methods: Different samples cohorts (n=307) tested as HBsAg negative by the currently available assays with sensitivity 0.05-0.1 IU/ml were analysed. The presence of HBsAg in these samples was estimated by DS-EIA-HBsAg-0.01 and confirmed by neutralization. All specimens containing HBsAg were characterized for HBV-specific serological markers.

Results: Among anti-HIV positive samples (n=172) 14 were detected as HBsAg positive by the EIA kit with sensitivity 0.01 IU/ml. Out of 14 specimens 12 contained HBV DNA. 1 HBV DNA-negative sample shown presence of anti-HBc, anti-HBc-IgM and anti-HBe, another contained anti-HBc. Out of 72 isolated anti-HBc-positive specimens 12 were HBsAg-reactive in EIA kit with sensitivity 0.01 IU/ml. Out of 12 samples 4 were anti-HBc-IgM positive. Other 63 samples from different cohorts (the primary asymptomatic blood donors (accidental selection), clinical patients, pregnant women, patients infected with various bacteria and viruses) previously detected as HBsAg-negative were positive for HBsAg by DS-EIA-HBsAg-0.01. 21 samples of them were positive for anti-HBc. The serological profile of 7 samples (anti-HBc and anti-HBe positive, anti-HBc-IgM and anti-HBs negative) is compatible with that of an HBV carrier.

2 samples showed the serological profile of acute HBV infection (anti-HBc and anti-HBc-IgM

positive, anti-HBe, HBeAg and anti-HBs negative). The serological markers of 1 sample was compatible with that of acute HBV infection with active replication (anti-HBc, anti-HBc-IgM and HBeAg positive, anti-HBe and anti-HBs negative). 2 samples showed the serological profile of an aggravation of a chronic HBV infection (anti-HBc, anti-HBc-IgM and anti-HBe positive, HBeAg and anti-HBs negative). 9 samples from 31 tested for HBV DNA with HBsAg concentration below 0.05 IU/ml were HBV DNA positive.

Conclusion: The enhancement of sensitivity of the currently available kits for HBsAg detection will allow to reveal HBsAg more effectively in samples which tested negative now, will improve

quality of blood donor screening and reduce the risk of posttransfusional hepatitis B infection.

21st European Congress of Clinical Microbiology and Infectious Diseases,- Italy, Milan,

7-10 May 2011