A.C. ARAUJO, I.V. ASTRAKHANTSEVA, T.I. ULANOVA, A.P. OBRIADINA,

H.A. FIELDS, S. KAMILI

Laboratory Branch, Division of Viral Hepatitis, Centers for Disease Control and Prevention, Atlanta, GA, USA;

RPC Diagnostic Systems, Nizhniy Novgorod, Russia

SIMULTANEOUS DETECTION OF SPECIFIC IgG RESPONSES TO STRUCTURAL AND NON-STRUCTURAL HCV ANTIGENS TO IDENTIFY ACUTE HCV INFECTION

Abstract

The diagnosis of acute hepatitis C virus (HCV) infection is inaccurate because no specific marker of acute infection has been identified. We developed a multiplexed immunological assay to measure anti-HCV IgG responses to core, NS3, NS4 and NS5 proteins during acute and chronic phases of infection. Ninety-nine serum samples from 24 anti-HCV seroconversion panels (acute) and 141 anti-HCV IgG and HCV RNA-positive plasma specimens from blood donors (chronic) were tested. Differences in the geometric means of signal/cutoff (S/CO) values between the acute and chronic donors were significant for all antigens tested. A multivariate logistic regression model was built to facilitate classification of study samples as belonging to the acute or the chronic group. This model correctly classified the acute and chronic samples with a cross-validation accuracy of 90.9% for the acute and 97.2% for the chronic samples. Our results suggest that the multiplexed HCV antigen microsphere immunoassay is a viable tool to identify acute HCV infection.

INTRODUCTION

The diagnosis of acute HCV infection is based on the detection of its molecular marker (HCV RNA), the serological marker (anti-HCV) and its biochemical marker, elevation of alanine aminotransferase (ALT) levels greater than 400 IU/L [5]. However, none of these markers alone can be used to identify acute HCV infection since they are also detectable during late phase of disease. Additionally, distinguishing acute from chronic HCV infection on the basis of history and symptoms is difficult because most patients with acute infection are asymptomatic [12, 3]. Therefore, researchers have devised several approaches to identify acute infection including: anti-HCV IgM detection [4, 2], measurement of anti-HCV IgG avidity index [9] and observation of serial changes in viral load [10]. The disadvantages of these approaches are that sequential samples are required in the case of anti- HCV IgM and none of these tests can be performed in a high-throughput manner resulting in longer period of time to obtain results. In order to overcome these problems, we have developed a high-throughput HCV recombinant protein microsphere immunoassay to simultaneously detect anti-HCV IgG response. This approach recognizes antibody binding activity to individual specific antigens identifying acute cases of infection based on differences in anti-HCV IgG responses to structural and non-structural HCV proteins.

METHODS

Specimens

This study was performed using unlinked anonymous specimens and specimens obtained commercially (anti-HCV seroconversion panels). Therefore, according to the CDC’s Institutional Review Board this project was classified as not involving identifiable human subjects.

Ninety-nine plasma samples were obtained from 24 commercially available anti-HCV seroconversion panels (donors); the number of samples per donor varied between 1 and 11. Ten panels were acquired from Zeptometrix (Buffalo, NY), 5 panels from NABI (Boca Raton, FL), 4 panels from Serologicals (Clarkston, GA), 3 panels from BBI (West Bridgewater, MA), and 2 panels from Profile Diagnostic (Sherman Oaks, CA). These samples comprised the acute group and were taken within 65 days after the last anti-HCV negative result. However, majority of sample population was obtained between 1 and 50 days after seroconversion to anti-HCV.

The chronic group consisted of 141 anti-HCV positive plasma specimens from blood donors obtained from BBI (64 samples) and from the American Red Cross (77 samples) each representing one unique individual. All samples from the chronic group were confirmed for anti-HCV by the Ortho Recombinant Immunoblot Assay (RIBA) and HCV RNA by reverse-transcriptase PCR. Additionally, a control group of 30 human serum samples negative for markers of infection for hepatitis A, B and C was used.

Antigens

Eight recombinant HCV antigens were used. They originated from the core region (amino acid positions 1 to 100) of a genotype 1b HCV strain, a mosaic protein containing immunodominant regions of the NS4 protein (positions 1691 to 1710, 1712 to 1733 and 1921 to 1940) derived from HCV strains belonging to genotypes 1, 2, 3 and 5 (1) and NS5 (positions 2061 to 2302). Additionally, 5 recombinant antigens derived from the NS3 region were used: NS3#201 (positions 1192 to 1459), genotype 1b; NS3#207; NS3#208; NS3#210 and NS3#215 (positions 1356 to 1459), genotypes 1a, 1b, 2c and 1c respectively. All 8 proteins were obtained as a gift from Diagnostic Systems, Inc. (Nizhniy Novgorod, Russia).

Coupling methods

The detection of anti-HCV IgG response was based on a multiplexed immunoassay performed on the Luminex system. All purified recombinant HCV antigens were coupled to individual color-coded carboxylated xMAP microspheres (Luminex Corp, Austin, TX) according to manufacturer’s protocol (7). Briefly, 12.5 x 106  microspheres (8 individual identification numbers) were activated for 20 minutes in 100 mM monobasic sodium phosphate, pH 6.2 with 50 mg/mL N-hydroxysulfosuccinimide and  50 mg/mL 1-ethyl-3-(3dimethylaminopropyl) carbodiimide hydrochloride (Pierce, Rockford, IL). HCV recombinant antigens (200 μg each) were added to the resuspended microspheres bringing the total volume to 500 μL with phosphate-buffered saline (PBS), pH 7.4 and vortexed. After incubation for 2 hours by rotation at room temperature, the coupled microspheres were washed twice with PBS-TBN (PBS, pH 7.4, 0.1% w/v BSA, 0.05% sodium azide) and resuspended in 1 mL of PBS-TBN and the yield determined by counting the microsphere suspensions by hemacytometer. The microspheres were protected from light and stored in PBS-TBN at 40C.

Multiplex HCV antibody assay

The anti-HCV IgG multiplex assay was performed by mixing the different antigen-coupled microspheres to a working concentration of 2000 beads per ID number per well. Serum samples were diluted 1:100 in PBN (PBS, pH 7.4, 0.5% w/v BSA, 0.02% sodium azide) for measurement of antigen-specific IgG binding activity. Briefly, 25 µL per diluted sample was incubated with the microspheres in a 96-well filter microtiter plate (Millipore) in the dark, at room temperature by shaking for one hour. The plate was washed twice with wash buffer (PBS, 0.05% Tween 20) that was aspirated by vacuum manifold. The microspheres were resuspended in 25 µL of PBN and 25 µL of a 1:200 dilution of 1.1 mg/mL of Biotin-SP conjugated AffiniPure goat anti-human IgG (Jackson Immuno Research, West Grove, PA). After incubation in the dark at room temperature by shaking for 30 minutes, 25 µL of a 1:5 dilution of 1mg/mL of Streptavidin-R-phycoerythrin (SA-PE) (Molecular Probes, Eugene, OR) was added. The plate was incubated for 15 minutes in the dark at room temperature on the plate shaker and washed. The microspheres were resuspended in 150 µL of PBN. Measurements were performed on the Luminex 100 instrument (QIAGEN) using the MasterPlex CT software (version 1.0). Tests were performed in duplicate and the mean fluorescence intensity (MFI) values were averaged. The coefficient of variation (CV) was calculated from MFI values obtained by testing eight replicates of five sera in the same run (intra-assay variation) or in 2 separate assays (inter-assay variation) and was averaged per antigen. The CVs of intra-assay varied between 2% and 12% and the inter-assay variation was between 2% and 22%.  The positive cutoff value was determined as the MFI value of 30 normal human serum samples plus 2 standard deviations and the signal to cutoff (S/CO) ratio was determined as the MFI divided by the cutoff.

Statistical analysis

Since multiple samples were available from a majority of donors in the acute group, mean values were calculated per antigen per donor. Comparison of anti-IgG responses to each one of the 8 HCV antigens between acute and chronic groups was performed after normality assumption was verified. Since all antigens, except core, fit a lognormal distribution, the geometric mean or mean (normal distribution), and variances were calculated for each group. The F test was performed to test the equality of the two group variances. If F test was significant, t-test assuming unequal variances was used. Otherwise, t-test assuming equal variances was used. A p-value < 0.001 was considered to be statistically significant. Analyses were performed using SAS (SAS Institute, Cary, NC).

To facilitate the classification of samples into acute or chronic groups, a multivariate logistic regression model was built using MATLAB (6). A multivariate model using the responses to all 8 antigens as covariates had a deviance of 24.95. The p-value of the response to the NS5 antigen was 0.65. Consequently, this covariate was removed from the model, yielding a deviance of 25.39. The p-value of the likelihood ratio test for the two models was Pr [χ2 (1) > 0.44] > 0.1, confirming that the NS5 antigen is not significant for the model. Similarly, the covariate corresponding to the response to the antigen NS3#207 was removed, yielding a deviance of 25.44. The coefficients of the resulting model are given in Table 1.

To study the predictive ability of the model, a leave-one-out cross-validation was performed. Each acute panel and each chronic sample were removed in turn and a multivariate logistic regression model using the six covariates was built from the remaining data. The model was then used to predict the membership of the panel or sample set aside in the acute or chronic group. In the case of a panel with more than one sample, the accuracy was calculated as the percentage of correctly classified samples out of all samples in the panel. The calculated accuracies were averaged by group.

RESULTS

To evaluate the usefulness of the Luminex multiplex assay and structural and non-structural HCV proteins to diagnose acute HCV infection, well characterized acute and chronic HCV positive samples were screened. Since more than one sample was available for most of the donors in the acute group, sample mean per antigen per donor (seroconversion panel) was calculated. The differences in the geometric mean, mean and variances per protein per group were significant for all proteins tested with p-values < 0.001 (Table 2).

When we consider the first anti-HCV IgG positive sample from each panel, we observed that all twenty four serum conversion panels seroconverted to the core and/or non-structural proteins. However, some samples had incomplete seroconversion profiles, presenting anti-HCV IgG response exclusively to one protein overtime; five of them, seroconverted to the core exclusively, two seroconverted to the NS4 only and one responded to NS3# 201 only. Additionally, we noticed that core was the most immunoreactive protein, reacting with 99.3% of the chronic (140 out of 141) and 78.8% (78 out of 99) of the acute samples.

The multivariate logistic regression model correctly classified all acute samples and 97.87% of the chronic samples. To further evaluate the goodness of fit of the model, a receiver operating characteristic curve (ROC) was plotted. The area under the ROC was 0.9972, indicating that a strong separation exists between the acute samples collected within 65 days after seroconversion to anti-HCV IgG and the chronic samples. The predictive ability of the model to classify unknown future samples from one of these two groups was measured by external validation. The leave-one-out accuracy was 90.9% for acute samples and 97.2% for chronic samples.

DISCUSSION

A high throughput multiplex immunoassay using 8 recombinant proteins from 5 HCV genotypes and their subtypes was developed. This assay detects specific anti-IgG response to these HCV structural and non-structural proteins. The core protein was the most immunoreactive in both groups. In the acute group, it reacted with 78.8% of the first positive acute sample (78 out of 99 acute samples) and in the chronic group it reacted with 99.3% (140 out of 141) of the samples. Netski and collaborators (11) observed antibody responses during acute infection by examining 12 injection drug users (IDUs) before, during and after infection. They detected antibody responses to nonstructural proteins earlier than those for the structural proteins. The difference in our findings could be due to the use of HCV antigens of more diverse length and genotypes in our assay, smaller sample population in their study or interindividual inability to mount an antigen-specific humoral immune response.

The most significant difference between acute and chronic infected groups was the difference in levels of anti-HCV IgG responses as shown in table 2. These differences are probably due to increasing antibody titer as the infection progresses as reported by Klimashevskaya et al (9) in the anti-HCV IgG avidity index assay.  This observation has also been reported by Janssen et al (8). These authors developed an approach to identify early HIV infection using a ratio between sensitive and less sensitive EIA test results in which a sample from an individual during early infection is reactive on an EIA sensitive to antibodies but nonreactive on a less sensitive EIA.

In few cases our assay detected anti-HCV IgG response earlier than the available commercial tests and the IgG avidity index assay previously reported (9) suggesting that the newly developed high throughput Luminex assay is more sensitive than many EIA screening tests. This high throughput assay requires low-volume of serum and can identify antibody response to a large number of HCV antigens simultaneously. As a result, large amounts of information are obtained faster compared to conventional ELISA. More importantly, this assay can identify HCV in acutely infected patients with a higher degree of accuracy by testing one single sample. This is relevant because the early identification of patients with acute HCV infection followed by treatment with IFN-α 2b leads to eradication of the virus in 98% of the cases compared to a much lower rate (42% to 82%) if the treatment starts during chronic disease (13).

Even though, the differences in anti-HCV IgG responses to each one the 8 antigens is statistically significant (table 2), none of them alone can be used to discriminate acute and chronic samples with a high degree of accuracy. Therefore, we have generated a multivariate logistic regression model built upon differences in S/CO values between acute and chronic groups through measurements of anti-HCV IgG responses in the Luminex system. According to this model only 6 antigens are required for the classification of an unknown sample in acute or chronic (table 1). The differential protein S/CO values as the discriminator between acute and chronic samples was mostly dependent on core followed by nonstructural proteins, NS4 and NS3#215 and NS3#208. Conversely, proteins NS3#207 and NS5 were not significant for the model and were removed. The cross-validation accuracy of this model was 90.9% for the acute and 97.2% for the chronic samples.

One limitation of this study is that the high throughput assay to detect anti-HCV IgG response was developed using an acute group which consists of HCV seroconversion panels instead of clinical samples. Moreover, the number of samples between day 50 and 65 after seroconversion was small (4 out of 99 samples). Therefore, the associations presented here should be investigated in other populations and better clinical-epidemiologic correlations would improve the efficiency of this relevant diagnostic test. Hence, assay validation using more diverse clinical populations is in progress.

We have developed a novel high-throughput assay for detection of antibody levels to a broad range of HCV antigens. We have showed that differences in IgG responses to these specific HCV proteins can be used to identify acute cases of infection with a high degree of accuracy based on a single time point sample.

TABLE 1. Coefficients of multivariate logistic regression model

| Covariate | Coefficient | Standard Error | p-value |
| --- | --- | --- | --- |
| Constant | 16.689 | 4.9521 | 0.0008 |
| Core | -1.4036 | 0.4345 | 0.0012 |
| NS3#201 | 0.2627 | 0.1756 | 0.1347 |
| NS3#208 | 2.9682 | 0.9569 | 0.0019 |
| NS3#215 | -1.8973 | 0.6331 | 0.0027 |
| NS3#210 | -0.3956 | 0.1927 | 0.0401 |
| NS4 | -1.4768 | 0.4669 | 0.0016 |

TABLE 2. Comparison of anti-HCV IgG responses between acute and chronic donors

| Antigens | Acute n = 24 |  | Chronic n = 141 |  |
| --- | --- | --- | --- | --- |
|  | Geometric Mean | 95% Confidence Limit Mean | Geometric Mean | 95% Confidence Limit Mean |
| Core | 3.7388a | 2.5253 – 4.9523 | 13.0967a | 12.4993 – 13.6940 |
| NS3#207 | 0.5506 | 0.3522 – 0.8607 | 2.7949 | 2.3181 – 3.3699 |
| NS3#201 | 0.8754 | 0.5139 – 1.4913 | 6.8244 | 5.7529 – 8.0955 |
| NS3#208 | 0.5096 | 0.3186 – 0.8150 | 2.2483 | 1.8675 – 2.7067 |
| NS3#215 | 0.7592 | 0.4623 – 1.2469 | 7.0129 | 5.6727 – 8.6698 |
| NS3#210 | 0.6441 | 0.3756 – 1.1045 | 8.3100 | 6.4441 – 10.7163 |
| NS4 | 0.7926 | 0.4734 – 1.3268 | 8.5460 | 7.1989 – 10.1452 |
| NS5 | 0.5774 | 0.3707 – 0.8993 | 3.3700 | 2.6038 – 4.3616 |

Note. p-value < 0.001 for each one of the antigens tested when comparing differences between the 2 groups

a Mean (normal distribution)

ACKNOWLEDGEMENT

We thank Zoya Dimitrova of the Laboratory Branch and Jian Xing of the Surveillance and Epidemiology Branch, Division of Viral Hepatitis, CDC, for their statistical analyses and suggestions. We thank Dr. Kathryn Keller and Kakali Bandyopadhyay of the Division of Scientific Resources, CDC for their help with the Luminex system.

References

1. Chang, J. C., B. Ruedinger, M. -E. Cong, S. Lambert, E. Lapareva, M. Purdy, B. P. Holloway, D. L. Jue, B. Ofenloch, H. F. Fields, and Y. E. Khudyakov. 1999. Artificial NS4 mosaic antigen of hepatitis C virus.  J. Med. Virol. 59:437-450.

2. Chen, P. J., J. T. Wang, L. H. Hwang, Y. H. Yang, C. L. Hsieh, J. H. Kao, J. C. Sheu, M. Y. Lai, T. H. Wang, and D. S. Chen. 1992. Transient immunoglobulin M antibody response to hepatitis C virus capsid antigen in post transfusion hepatitis C: Putative serological marker for acute viral infection. Proc. Natl. Acad. Sci. USA. 89:5971-5975.

3. Chung, R. T. 2005. Acute hepatitis C virus infection. Clin. Infect. Dis. 41 Suppl1):S14-17.

4. Coppola, N., R. Pisapia, G. Tonziello, A. Masiello, S. Martini, M. Pisaturo, V. Messina, C. Sagnelli,

M. Macera, G. Signoriello, and E. Sagnelli. 2009. Improvement in the aetiological diagnosis of acute hepatitis C: A diagnostic protocol based on the anti-HCV-IgM titre and IgG avidity index. J. Clin. Virology. 46:222-229.

5. Daneils, D., S. Grytdal, and A. Wasley. 2009. Surveillance for acute viral hepatitis – United States, 2007. MMWR Surveill. Summ. 58:1-27.

6. Hosmer, D. W., and S. Lemeshow. 2000. Applied Logistic Regression. p.31-44, 91-128, 143-200. 2nd ed. John Wiley & Sons, New York, NY.

7. Jacobson, J. W., K. G. Oliver, C. Weiss, and J. Kettman. 2006. Analysis of individual data from bead-based assays (“bead arrays”). Cytometry. 69A:384-390.

8. Janssen, R. S., G. A. Satten, S. L. Stramer, B. D. Rawal, T. R. O’Brien, B. J. Weiblen, F. M. Hecht, N. Jack, F. R. Cleghorn, J. O. Kahn, M. A. Chesney, and M. P. Busch. 1998. New testing strategy to detect early HIV-1 infection for use in incidence estimates and for clinical and prevention purposes. JAMA; 280:42-48.

9. Klimashevskaya, S., A. Obriadina, T. Ulanova, G. Bochkova, A. Burkov, A. Araujo, S. L. Stramer,

L. H. Tobler, M. P. Busch, and H. A. Fields. 2007. Distinguishing acute from chronic and resolved hepatitis C virus (HCV) infections by measurement of anti-HCV immunoglobulin G avidity index. J. Clin. Microbiol. 45:3400-3403.

10. McGovern, B. H., C. E. Birch, M. J. Bowen, L. L. Reyor, E. H. Nagami, R. T. Chung, and A. Y. Kim. 2009. Improving the diagnosis of acute hepatitis C infection using expanded viral load criteria. Clin. Infect. Dis. 49:1051-1060.

11. Netski, D. M., T. Mosbruger, E. Depla, G. Maertens, S. C. Ray, R. G. Hamilton, S. Roundtree, D. L. Thomas, J. McKeating and A. Cox. 2005. Humoral immune response in acute hepatitis C virus infection. Clin. Infect. Dis. 41:667-675.

12. Orland, J. R., T. L. Wright, and S. Cooper. 2001. Acute hepatitis C. Hepatology. 33:321-7.

13. Pawlotsky, J. M. 2006. Therapy of hepatitis C: From empiricism to eradication. Hepatology. 43:S207-S220.

В печати