N. CHEPURCHENKO, M. GLADYSHEVA, A. BURKOV, A. OBRIADINA

Nizhny Novgorod, RU

SIGNIFICANCE OF LABORATORY FINDINGS FOR THE DIAGNOSIS OF NEUROSYPHILIS

Objectives. The usage of recombinant T. pallidum antigens in ELISA and passive hemagglutination assay (TPHA) has the potential for improvement lab diagnostics of neurosyphilis. The aim of this study was to evaluate the diagnostic relevance of cerebrospinal fluid (CSF)-tests, to analyze antibody reactivity pattern in CSF from neurosyphilis patients by ELISA and TPHA and new criterion of the intrathecal production of specific IgG definition.

Methods. Four full-length recombinant proteins (TmpA, 47, 17, 15 kDa) were expressed in E. coli and then used individually to develop ELISA and TPHA tests. The FTA-ABS, TPI, ELISA, TPHA, VDRL, CFT (complement fixation test) tests were performed on CSF samples from 22 patients with a diagnosis of active neurosyphilis, from 4 patients treated for neurosyphilis and from 17 patients without syphilitic CNS involvement. TPHA-IgG titres have been determined in paired serum and CSF samples from 13 neurosyphilis patients and 1 patient without syphilitic CNS involvement.

Results. When CSF was used as diagnostic fluid sensitivities of FTA-ABS, ELISA, TPHA (82,3%, 86,4%, 86,4% accordingly) were higher in comparison with TPI, VDRL, CFT tests (62,5%, 58,8%, 60% accordingly). However, VDRL and CFT demonstrate 100% specificity in contrast with treponemal tests (specificity 75 - 84,6%). The best result matched with clinical diagnosis of neurosyphilis was demonstrated by next three combinations: FTAABS+ELISA+TPHA, FTA-ABS+ELISA+VDRL or FTA-ABS+TPHA+VDRL – 88,4%.

Antibodies specific to 17 kDa (88,9 – 90,9%) and TmpA (72,2 – 86,4%) were prevalent in CFS samples. There is no correlation in titers of antibodies specific to individual T. pallidum recombinant antigens in paired serum and CFS samples from patients with neurosyphilis. In the same time strong correlation was observed when paired CFS/serum samples from patient without syphilitic CNS were tested.

Conclusions. Different antibody reactivity pattern in paired CFS/serum samples may indicate intrathecal production of antitreponemal antibodies.

European Congress of Clinical Microbiology and Infections Deseases,

Barselona, Spain, 2008